DQC engine and Combiner user instruction (cheatsheet)

First step: Data Quality Check

1) Required project contents

Make sure the project folder contains:

dq_master.yaml

src/

data_raw/

data_out/

(optional but recommended) Data_quality_check_system_description.md

(for maintenance flags) Anne kanal diary.csv

2) First-time setup (only once per computer / Python environment)

Open a terminal in the project root and install dependencies:

python -m pip install PyYAML

py -m pip install pandas pyyaml watchdog pytest

3) Getting data checked (starting with empty data_raw)

A. Add maintenance diary.

- Put Anne kanal diary.csv into data_raw/.  Make sure the UTC time is in format dd/mm/yyyy hh:mm:ss. It sometimes changes in teams due to it automatically goes to US region. It has to be in UK region.

- It must be written “Anne kanal diary” and must be csv format.

- The engine uses it for maintenance ranges; it does NOT generate a checked diary output.

B. Add raw sensor files to data_raw/

File naming MUST follow one of these patterns (case-insensitive, .csv required):

raw_data_Observator_YYYYMMDD_to_YYYYMMDD.csv

raw_data_ColiMinder_YYYYMMDD_to_YYYYMMDD.csv

C. Run the QC engine

One-shot processing (recommended for ad‑hoc runs):

py -m src.main --input data_raw --output data_out --config dq_master.yaml --once

Watch mode (auto‑process new files):

python -m src.main --input data_raw --output data_out --config dq_master.yaml --watch

- Stop watch mode with Ctrl+C

- Activity logs go to data_out/watchdog.log

4) What’s inside a flagged  CSV

Original input columns are preserved. New columns are appended in this order:

1. origin

2. overall_dq_check

3. maintenance_flag

4. <parameter_key>_<check>_flag (PASS/FAIL)

5. <parameter_key>_qc_flag (PASS/FAIL)

PASS = check passed

FAIL = check failed

In addition, numbers between flags and headers show pass and fail percentages. First row is PASS percentage and second row is FAIL percentage.

5) Troubleshooting DQC Engine

If nothing happens:

1. Confirm the file ends with .csv

2. Confirm the filename matches the required pattern (Observator / ColiMinder)

3. Confirm raw column names match YAML raw_columns

4. Check data_out/watchdog.log for warnings

Second step: Cleaning two files

1) Cleaning

In both files filter flagged data in “overall_dq_check” column and leave only ones that have “PASS” in “overall_dq_check” column.

Save that file separately in form:

cleaned_data_Observator_YYYYMMDD_to_YYYYMMDD.csv

cleaned_data_ColiMinder_YYYYMMDD_to_YYYYMMDD.csv

Third step: Combining two files

Look at “Datasets combiner readme.txt”.